Radiation Quantities and Units

1.)  Which of the following is not a unit of energy:

- Heat Unit

- MeV

- Watt

- Joule

2.)  If the muscle tissue is exposed to 50 roentgens of x-rays, this would produce an

approximate dose of:

- 50 rad

- 50 Gy

- 50 sievert

- 50 becquerel

3.)  A gray is equal to:

- 10 roentgen

- 100 rad

- 1000 rad

- 1 Ci

4.)  1 curie is equal to:

- 106 becquerel

- 103 becquerel

- 3.7 x 1010 becquerel

- 37 becquerel

5.)  If a charge of 10 coulomb passes through a meter in 2 seconds, the current is:

- 20 amps

- 5 amps

- 10 amps

- 8 amps

__________________________________Radiation Quantities and Units—Questions

6.)  In the following, match the quantity with the corresponding unit:

- Rad

- Ci

- Roentgens

- MeV

- Electron Beam energy

- Exposure

- Absorbed dose

- Radioactivity

7.)  Which of the following is not a unit of energy:

- Rad

- cGy

- Volt

- Joules

8.)  Which of the following is not an SI unit:

- Kilogram

- Meter

- Ci

- Second

9.)  Match the following units with the quantity:

- Hz

- Amp

- Angstrom

- Coulomb

- kV

- Wavelength

- Frequency

- Charge

- Current

- Tube potential

___________________________________Radiation Quantities and Units--Questions

10.)  A monitor unit in a linac usually represents an absorbed dose of:

- 1 Gy

- 0.01 Gy

- 100 Gy

- 0.1 Gy

11.)  A picocurie is equal to:

- 0.1 Ci

- 0.001 Ci

- 10-6 Ci

- 10-9 Ci

- 10-12 Ci

12.)  Nanocoulomb is equal to:

- 10-3 coulomb

- 10-6 coulomb

- 10-9 coulomb

- 10-12 coulomb

Structure of Matter

1.)  Match the charge with the particle:

A.  Electron		a.  +1

B.  Positron		b.  -1

C.  Proton		c.  0 (neutral)

D.  Neutron

E.  Photon

2.)  Isobars are nuclides that have the same:

A.  Number of protons

B.  Atomic number

C.  Mass number

D.  Number of neutrons

3.)  Which of the following nuclear transitions produces only photon radiation:

A.  Isomeric

B.  Electron capture

C.  Isobaric

D.  Isotopic

4.)  Which of these transitions produces electrons:

A.  Isobaric

B.  Auger

C.  Internal conversion

D.  All of the above

5.)  What determines the binding energy of an electron:

A.  The physical density of the material

B.  The shell (K, L, etc.) location of the electrons and the atomic number of the

element

- The thickness of the material

- The speed of the electron in the orbit

6.)  Match the following symbols with their corresponding parameters:

A.  Na		a.  Plank’s constant

B.  A		b.  Mass number

C.  Z		c. Atomic number

D.  h		d.  Avogadro’s number

_____________________________________________Structure of Matter—Question

7.) The mass of an electron at rest is:

A.  1.02 MeV

B.  0.511 MeV

C.  9.81 MeV

D.  5.11 MeV

8.)  One atomic mass unit is the same as:

A.  1.66 x 10-27 Kg

B.  1/12 the mass of a 12C6 nucleus

C.  931 MeV

D.  All of the above

9.)  The number of atoms in one gram is equal to:

A.  The atomic weight divided by the atomic mass

B.  Avogadro’s number divided by atomic weight of the atom

C.  Avogadro’s number divided by the density of the material

D.  The atomic weight divided by Avogadro’s number

10.)  The binding energy of the nucleus is the:

A.  Force of repulsion between the electrons of the atoms

B.  Force of attraction between the protons and electrons of the atom

C.  Energy needed to keep the nuclear particles together

D.  Force of attraction between atoms

11.) The mass of an electron is:

A.  The same as that of a proton

B.  Half of the proton’s mass

C.  The same as that of a neutron

D.  Much smaller than the mass of a neutron

12.)  Which of the following does not ionize directly:

A.  Positron

B.  Neutron

C.  Alpha particle

D.  Electron

E.  Proton

____________________________________________Structure of Matter—Questions

13.)  Approximately how heavy is a neutron compared to an electron:

A.  10      :1

B.  100    :1

C.  1000  :1

D.  2000  :1

14.)  The atomic mass number (A) is equal to the:

A.  Number of neutrons

B.  Number of electrons and protons

C.  Number of neutrons, electrons, and protons

D.  Mass of electrons minus their binding energies

E.  Number of nucleons (protons and neutrons)

15.)  The energy equivalent of an atomic mass unit is approximately:

A.  1 keV

B.  10 keV

C.  100 MeV

D.  1000 MeV

16.)  The binding energy of an electron is:

A.  Highest for the most external shell

B.  Highest for the inner most shell

C.  Highest for a free electron

D.  Highest for the fastest moving electron

17.)  A deuteron (2H) is the nucleus of an isotope of hydrogen.  Which of the following is

true:

A.  It has a mass number of 2

B.  It has an atomic number of 2

C.  It has a positive charge of 2

D.  It has an energy of 2 MeV

18.)  In order for a photon to ionize an atom, its energy must be:

A.  Greater than the binding energy of an electron in the atom

B.  Less than the binding energy of an electron in the atom

C.  Equal to the binding energy of an electron in the atom

D.  None of the above

19)  An atom is neutral if the number of its electons is equal to its:

A.  Number of protons

B.  Number of nucleons

C.  Atomic weight

D.  None of the above

Radioactivity

1.)  When a radionuclide decays, radiation is emitted from the:

A.  Outer orbital electrons of the atom

B.  Innermost shell of the atom

C.  The nucleus of the atom

D.  All of the above

2.)  The half-life of a radionuclide is the time required to reduce:

A.  The volume of the isotope into half

B.  The number of radioactive atoms to half of their initial number

C.  The activity to half of its initial value

D.  B and C are true

E.  A, B, C all are true

3.)  If the activity in a sample of radionuclide is 100 mCi, how many half-lives would be

required for it to decay to less than 2 mCi:

A.  3

B.  4

C.  5

D.  6

4.)  Samples of two radionuclides with different half-lives initially contain the same

number of radioactive nuclei.  The sample with the longer half-life will have:

A.  A shorter biological half-life

B.  A longer average life time

C.  Produce a higher exposure rate

D.  A higher activity

5.)  The disintegration constant lambda (λ) is equal to:

A.  Physical half-life x 1.44

B.  Biological half-life x .0693

C.  Physical half-life x 0.693

D.  0.693 / physical half-life

__________________________________________________Radioactivity--Questions

6.)  The dose delivered to an internal organ is a function of:

A.  Organ uptake

B.  Activity administered

C.  Biological half-life

D.  Physical half-life

E.  All of the above

7.  Specific activity of a radionuclide refers to:

A.  Number of disintegrations per second

B.  Number of grams per Ci

C.  Activity per unit mass

D.  Number of atoms per centimeter cube

8.)  If the specific activity in a sample decreases, its:

A.  Half-life decreases

B.  Physical life increases

C.  Activity per gram of the material decreases

D.  All of the above

9.)  The physical half-life of a radionuclide is:

A.  The same as the average life

B.  Less than the average life

C.  Directly proportional to the decay constant

D.  Reciprocal of biological half-life

10.)  After 5 half lives, the fraction of initial activity is reduced to:

A.  One-fifth

B.  One-fifth to the power of 2

C.  Square root of ½

D.  ½ to the power of 5

X-Ray and Gamma Ray Interactions

1.)  Monoenergetic photon beams interacting with tissue are attenuated:

A.  Linearly

B.  Exponentially

C.  Proportional to the density of tissue

D.  None of the above

2.)  Most often when a photon undergoes scattering:

A.  It gains energy

B.  Its energy remains unchanged

C.  Its energy decreases

D.  None of the above

3.)  Which coefficient is used to calculate energy absorbed:

A.  Attenuation

B.  Transfer

C.  Absorption

D.  Scatter

4.)  The annihilation radiation produces:

A.  2 electrons

B.  1 electron and 1 positron

C.  2 photons and energy of 0.511 MeV each

D.  1 photon of 1.02 MeV

5.)  A half value layer of a photon beam is:

A.  The thickness required to reduce the beam to half of its initial intensity

B.  Half of the number of photons in the beam

C.  The photon beam is blocked into half

D.  None of the above

6.)  X-rays and gamma rays in their interaction with tissue

A.  Produce high speed electrons

B.  Deposit energy

C.  Undergo scattering

D.  Produce ionization

E.  All of the above

______________________________X-Ray and Gamma Ray Interactions--Questions

7.)  Photons transfer their energy directly to tissue by:

A.  Scatter

B.  The production of Cerenkov radiation

C.  Absorption

D.  Attenuation

E.  Production of bremsstrahlung

8.)  The major type of interaction in megavoltage photon therapy is:

A.  Photoelectric

B.  Compton

C.  Pair production

D.  Triplet production

9.)  The photoelectric process of interaction is between the photons and:

A.  The nucleus of the atom

B.  The orbital electrons

C.  Either of the above

D.  None of the above

10.)  What is the threshold energy for pair production:

A.  0.511 MeV

B.  1.02 MeV

C.  1.533 MeV

D.  981 MeV

11.)  The probability that a photon interacts with a material is:

A.  Dependent on its density

B.  Proportional to the total attenuation coeffeicient

C.  Inversely proportional to the number of protons in the atom

D.  All of the above

12.  Which of the following materials will be most effective in attenuating a high energy

photon beam:

A.  Air

B.  Water

C.  Lead

D.  Copper

______________________________X-Ray and Gamma Ray Interactions—Questions

13.)  Pair production becomes significant (i.e., not accounted for in routine calculations)

in tissue above:

A.  5 MeV

B.  10 MeV

C.  15 MeV

D.  20 MeV

14.)  The mass attenuation for photons in soft tissue:

A.  Is maximum at 25 MeV

B.  Increases continuously with energy

C.  Decreases continuously with energy

D.  Decreases to about 3 MeV, then increases

Charged Particle Interactions

1.)  Charged particles interact with body tissues by:

A.  Photoelectric process

B.  Triplet production

C.  Ionization and excitation

D.  All of the above

2.)  X-rays are more likely to be produced by interaction between:

A.  Alpha particles and nuclei

B.  Protons and nuclei

C.  Electrons and nuclei

D.  Neutrons and nuclei

3.)  The rate of kinetic energy loss per unit path length by a charged particle is called:

A.  Linear attenuation coefficient

B.  Stopping power

C.  Mass energy absorption coefficient

D.  All of the above

4.)  The rate of energy loss by a charged particle is:

A.  Proportional to the particle charge

B.  Proportional to the square of the particle charge

C.  Independent of the charge

D.  None of the above

5.)  Heavy particles lose most of their energy:

A.  Immediately as they enter the medium

B.  In the middle of their range

C.  Near the end of their range

D.  Equally throughout their range

6.)  The Bragg peak is not observed in electrons because of their:

A.  High speed

B.  Negative charge

C.  Small mass

D.  Short life span

____________________________________Charged Particle Interactions—Questions

7.)  Excitation produced by electron beams is of:

A.  Nucleus of the atom

B.  Neutrons of the atom

C.  Orbital electrons of the atom

D.  Protons of the atom

8.)  Which of the following particles will penetrate the deepest in tissue:

A.  20 keV Auger electron

B.  10 MeV alpha particle

C.  20 keV proton

D.  1 MeV positron

E.  2 MeV beta particle

9.)  When an electron is ejected from an atom and leaves an ionization track it is called:

A.  A characteristic electron

B.  An Auger electron

C.  A delta ray

D.  An electrostatic charge

10.)  In the production of bremsstrahlung, the electron:

A.  Ejects a cloud of electrons

B.  Slows down and loses some of its energy as an x-ray photon

C.  Produces a heavy particle

D.  Ejects an electron from the atom

Neutron Interactions

1.)  Neutrons are:

A.  Directly ionizing particles

B.  Indirectly ionizing particles

C.  Electromagnetic radiation

D.  Radiofrequency radiation

2.)  Most neutron interactions in soft tissue produce:

A.  Recoil protons

B.  High energy electrons

C.  Visible light

D.  Auger electrons

3.)  The most efficient absorber of neutrons is:

A.  Copper

B.  Aluminum

C.  Borated polyethylene

D.  Lead

4.)  When exposed to the same neutron beam, which of the following tissues receives a

higher absorbed dose:

A.  Muscle

B.  Lung

C.  Fat

D.  Brain

5.)  Neutron dose estimates have a higher uncertainty because they:

A.  Are difficult to detect

B.  Lose significant energy in air

C.  Do not produce ionization

D.  Produce diverse secondary radiation

Production of X-Rays

1.)  The x-rays produced by 10 MeV electrons travel:

A.  Are mostly backscattered

B.  At about 30 degrees to the target

C.  At about 90 degrees to the target

D.  In same general direction as the electrons

2.)  The efficiency of x-ray production in radiation therapy machines is less than:

A.  50%

B.  10%

C.  5%

D.  1%

3.)  Photons produced by an x-ray machine at 80 kVp:

A.  Are mostly monoenergetic

B.  Have about 90% of the same energy

C.  Have a distribution of energies

D.  Have about 50% of the maximum energy

4.)  The maximum energy of an x-ray photon from a 100 kVp unit is:

A.  50 keV

B.  10 keV

C.  100 keV

D.  1 keV

5.)  The average energy in keV of a diagnostic x-ray beam is about:

A.  50% of the maximum kVp

B.  33% of the maximum kVp

C.  25 % of the maximum kVp

D.  20% of the maximum kVp

6.)  The output of an x-ray beam increases as:

A.  The tube voltage increases

B.  The tube current increases

C.  The atomic number (Z) of the target increases

D.  All of the above

__________________________________________Production of X-Rays—Questions

7.)  Heel effect of a diagnostic x-ray beam:

A.  Depends on the angle of the x-ray target

B.  Produces a variation in intensity in the x-ray beam parallel to the

cathode-anode axis

C.  Results in a lower intensity at the anode end of the beam

D.  All of the above

Ionization Chambers and Electrometers

1.)  Ionization chambers if not sealed require their readings to be corrected for

temperature and pressure because:

A.  Walls of the chamber expand and shrink with temperature

B.  The collecting electrodes electrical conductivity changes

C.  The volume of the air changes

D.  Mass of the air in the chamber changes

2.)  Thimble chambers are used to calibrate radiation beams because:

A.  They are sturdy

B.  They have good spatial resolution

C.  They do not significantly perturb the beams

D.  All of the above

3.)  Thimble chamber walls:

A.  Are made from high Z atomic number material

B.  Need be very thick

C.  Are air-equivalent

D.  Are made of ferromagnetic material

4.)  Parallel-plate ionization chambers are primarily used to measure:

A.  Ionization at deeper locations in a phantom

B.  Surface dose

C.  Scattered radiation dose

D.  Interstitial dose

5.)  Which of the following is not a desirable characteristic of an ionization chamber:

A.  Energy independence

B.  High signal to noise ratio

C.  Change in sensitivity with the direction of the incident beam

D.  Reproducibility

Thermoluminescent Dosimetry

1.)  Thermoluminescence refers to emission of:

A.  High intensity light from electron beams

B.  High intensity light from photon beams

C.  Light from certain materials when heated

D.  Light from thermonuclear reaction

2.)  The light signal produced from thermoluminescence dosimetry is amplified by:

A.  An electrometer

B.  A densitometer

C.  A photomultiplier tube

D.  A calorimeter

3.)  The most commonly used thermoluminescence material used in radiation dosimetry

is:

A.  Ca So4

B.  Ca F2

C.  Li F

D.  Li2 B

4.)  For megavoltage dosimetry, thermoluminescence dosimetry can provide accuracy of:

A.  ± 20%

B.  ± 10%

C.  ± 3%

D.  ± 1%

Film Dosimetry

1.)  A radiographic film consists of:

A.  Acrylic coated with toner

B.  Cellulose acetate coated with an emulsion containing silver bromide

C.  Acrylic coated with cellulose acetate

D.  Cellulose acetate coated with polystyrene

2.)  During the development of the film:

A.  Silver is added to the film

B.  Silver is removed from the film

C.  Silver bromide affected by radiation is reduced to small crystals of silver

D.  None of the above

3.)  During the fixing of the developed film, the:

A.  Unaffected granules of silver bromide are fixed in the film

B.  Unaffected granules of silver bromide are removed from the film

C.  Affected granules are removed

D.  Affected granules are fixed

4.)  If Io and It are incident and transmitted light intensities, respectively, the optical

density is defined as:

A.   Io /  It

B.  100 x Io /  It

C.  Log (Io /  It)

D.  Log   (Io - It)

5.)  The H-D curve for a type of film is a plot of:

A.  Incident vs. transmitted light intensities

B.  The optical density vs. exposure

C.  Net light intensity vs. transmitted light intensity

D.  Net light intensity vs. incident light intensity

6.)  Film Dosimetry is extremely useful for:

A.  Absolute dosimetry

B.  Relative dosimetry

C.  In-vivo dosimetry

D.  Radiobiological dosimetry

________________________________________________Film Dosimetry—Question

7.)  With megavoltage film dosimetry, isodose curves can be measured to within

A.  ± 10%

B.  ±  7%

C.  ±  3%

D.  ±  1%

8.) Film badges for personnel dosimetry have a reliability of:

A.  ±  50%

B.  ±  30%

C.  ±  10%

D.  ±  1%

Radiochromic Film Dosimetry

1.) Radiochromic films are best suited for measurements of:

A.  Low dose radiation (less than 1 millirad)

B.  High dose levels (10Gy-104 Gy)

C.  Temperature

D.  None of the above

2.)  Radiochromic film requires:

A.  Extensive processing

B.  Immediate processing

C.  No processing

D.  Low temperature storage

3.)  Measurements on a radiochromic film are made with:

A.  An electrometer

B.  Spectrometer or densitometer

C.  Magnetometer

D.  None of the above

4.)  The response of radiochromic films is:

A.  Independent of pressure

B.  Dependent on room temperature

C.  Dependent on room light intensity

D.  Independent of all of the above

5.)  The reproducibility of radiation measurements with radiochromic film is about:

A.  ±  1%

B.  ±  5%

C.  ±  7%

D.  ±  10%

6.)  For use in the clinical range of photon and electron therapy beams, the response of radiochromic

film is:

A.  Independent of energy

B.  Slightly energy-dependent

C.  Very dependent

D.  None of the above

E.  ±  1%

Diode Radiation Detectors

1.) A diode dosimeter is:

A.  An ionization chamber coated with silicon

B.  A vacuum tube

C.  A solid state device

D.  Baldwin Farmer chamber

2.)  In megavoltage therapy, diodes are well suited for:

A.  Absolute dosimetry

B.  Relative dosimetry

C.  Thermometry

D.  Imaging

3.)  In megavoltage therapy, typical use(s) of diodes is for:

A.  Patient dosimetry

B.  Beam scanning

C.  Quality assurance

D.  All of the above

4.)  Which of the following is best suited for calibration of a megavoltage beam:

A.  Diode detector

B.  Thermoluminescence dosimetery

C.  Film

D.  Ionization chamber

Superficial and Orthovoltage Machines

1.)  Superficial machines operate between:

A.  10-20 kV

B.  20-50 kV

C.  50-150 kV

D.  150-400 kV

2.) Superficial machines are useful for treating tumors confined to:

A.  0-5 mm

B.  0-10 mm

C.  0-20 mm

D.  0-30 mm

3.)  Typical SSD for superficial units is :

A.  5-15 cm

B.  15-20 cm

C.  20-30 cm

D.  30-50 cm

4.)  Orthovoltage therapy is delivered with x-rays produced by potentials ranging from:

A.  50-100 kV

B.  100-150 kV

C.  150-500 kV

D.  500-660 kV

5.)  Orthovoltage beams have a half value layer in the range of:

A.  1-3 mm Al

B.  3-5 mm Al

C.  1-4 mm Cu

D.  1-2 mm W

6.)  The greatest limitation of the orthovoltage beams for treating deeper tumors is:

A.  Low dose rate

B.  High skin dose

C.  Poor penumbra

D.  Unstable dose rate

___________________________Superficial and Orthovoltage Machines—Questions

7.)  The f-factor for soft tissue for an orthovoltage beam is typically:

A.  About unity

B.  About 3

C.  About 10

D.  None of the above

Cobalt Units

1.)  Cobalt-60 therapy machines produce photon beam energies of:

A.  1-1.33 MeV

B.  1.17 and 1.33 MeV

C.  1.25 MeV

D.  1.17 MeV

2.)  A cobalt-60 therapy source usually has a diameter of:

A.  1-3 mm

B.  3-5 mm

C.  5-10 mm

D.  10-20 mm

3.)  The penumbra at 80 cm SSD from a 2 cm diameter Cobalt-60 source collimated at 40

cm from the source is:

A.  0.5 cm

B.  1.0 cm

C.  2.0 cm

D.  4.0 cm

4.)  The half value thickness (HVT) for a cobalt-60 beam is:

A.  10 mm Al

B.  10 mm Cu

C.  12 mm Pb

D.  12 mm W

5.)  The transmission of a cobalt-60 beam through a 6 cm thick lead block is about:

A.  25%

B.  10%

C.  7.5%

D.  3.1%

6.)  Special collimation used to reduce the penumbra from a cobalt-60 unit is called:

A.  Cheater block

B.  Multileaf system

C.  Trimmers

D.  None of the above

Linear Accelerators

1.)  In order to accelerate electrons, linear accelerators use:

A.  Ultrasound waves

B.  Electromagnetic waves

C.  Ultraviolet rays

D.  Low energy rays

2.)  The frequency of electromagnetic waves typically used in linear accelerators to

accelerate electrons is:

A.  3 kHz

B.  30 MHz

C.  300 MHz

D.  3000 MHz

E.  3000 GHz

3.)  In a standing wave accelerator, the energy gained by an electron is approximately:

A.  10 keV/cm

B.  20 keV/cm

C.  75 keV/cm

D.  150 keV/cm

4.)  The sources of accelerating power in a linear accelerator are:

A.  Thyratron and electron gun

B.  Klystron and magnetron

C.  Magnetron and electron gun

D.  Buncher and pre-buncher

5.)  A magnetron in a 4-6 MV linear accelerator typically operates at a peak power of:

A.  0.5 MW

B.  1.0 MW

C.  2.0 MW

D.  2.5 MW

E.  3.0 MW

____________________________________________Linear Accelerators—Questions

6.)  Typical Klystron used in high energy linear accelerators (10-25 MeV) operates at a peak power of:

A.  1.0 MW

B.  2.0 MW

C.  3.0 MW

D.  5.0 MW

E.  10.0 MW

7.)  In a linear accelerator, the flattening filter is used to:

A.  Flatten the front end of the accelerator head

B.  Make the beam intensity uniform

C.  Produce electron beams

D.  Filter the neutrons from the beam

8.)  The flattening filter typically is made of:

A.  Low Z material

B.  Lead or tungsten

C.  Inert materials

D.  Zinc or copper

9.)  Which of the following does not accelerate electrons:

A.  Microtron

B.  Betatron

C.  Cyclotron

D.  X-ray tube

E.  Van de Graaf generator

Acceptance Testing, Calibration, and Commissioning

1.)  Acceptance testing of a radiation therapy machine relates to:

A.  Developing a better design of its components

B.  Comparing the specifications in the purchase order to the measured

performance of the machine

C.  Adjusting the electrical and mechanical parameters of the machine

D.  Measuring the performance of subsystems

2.)  The commissioning of a therapy machine requires:

A.  Measuring equipment

B.  Acquisition of clinical data

C.  Calibration of all the physical and radiation parameters

D.  All of the above

3.)  Calibration of a machine primarily deals with:

A.  Radiation beam parameters

B.  Mechanical parameters

C.  Digital displays

D.  Laser equipment

E.  All of the above

4.)  A good standard of practice requires that a treatment machine should undergo a

complete calibration at least:

A.  Before any treatment

B.  Daily

C.  Weekly

D.  Monthly

E.  Annually

5.)  A consistency check of radiation beams should be performed at least:

A.  Daily

B.  Weekly

C.  Monthly

D.  Annually

Radiation Quantities and Units

1.)  C

In radiation therapy the energy of photons and electrons is expressed in MeV.  However, heat units and joules are also units of energy.  Watt, instead, is a unit of power or the rate of energy transfer in joules/second.

2.)  A

A roentgen can be approximated by one rad in soft tissue.  For accurate conversion, the quantity f  factor, also called roentgen to rad conversion factor, must be used.  Its value is dependent upon the beam energy and the composition of the medium.

3.)  B

Gray is the SI unit of absorbed dose and is equal to 1 joule/kg.  This is 100 times greater than the rad, the old unit of absorbed dose.

4.)  C

The curie (Ci) is a unit of radioactivity defined as 3.7 x 1010 becquerel (Bq).

5.)  B

Current is defined as the flow of charge per unit time.  Hence, 10 coulomb in 2 seconds represents 10/2 = 5 amps.

6.)  A.  c.

B.  d.

C.  b

D.  a.

7.)  C

A volt is not a unit of energy.  It expresses difference in potential and is not to be confused with keV and MeV, etc., which represent the energy of ionizing radiation

____________________________________Radiation Quantities and Units--Answers

8.)  C

Ci was originally defined to quantify the activity of 1 gm of radium.  It is not an SI unit.

9.)  A.  b.

B.  d.

C.  a.

D.  c.

E.  e.

10.)  B.

0.01 Gy is equal to one cGy or 1 rad.

11.)  E

A picocurie is one trillionth part of one curie of radioactivity

12.)  C

A nanocoulomb is one billionth part of one coulomb charge

Structure of Matter

1.)  A   b.

B.  a.

C.  a.

D.  c.

E.  c.

Positrons and Protons both carry a unit of positive charge.  Electrons are negatively charged.  Neutrons are neutral particles in the nucleus of an atom.  Photons are quanta of electromagnetic energy and do not have any charge.

2.)  C.

On the basis of different proportions of neutrons and protons in the nuclei, atoms have been classified into different categories.  Isobars have the same number of nucleons but different numbers of protons.  The mass number for the atoms is the same if the number of nucleons is the same.

3.)  A.

Isomeric transitions produce gamma, e.g., Tc-99m goes to Tc-99 with the emission of a 140 keV gamma.  Electron capture and isobaric transitions do not produce photons directly.  These are followed by additional transitions which in turn produce photons.

4.)  E.

All of the transitions listed produce electrons.

5.)  B.

The binding energy of an electron relates to the energy required to maintain an electron in its shell.  It depends on the magnitude of coulomb force of attraction between the nucleus and the orbital electrons.

6.)  A.  d.

B.  b.

C.  c.

D.  a.

7.)  B.

The rest mass of an electron is 9.1 x 10-31 kg.  Using the relationship E = mc2,

Where C-is the velocity of light (3 x 108 meters/second), E can be calculated to be 0.511 MeV.

_____________________________________________Structure of Matter--Answers

8.)  D.

Each of the Options A, B and C represents the atomic mass unit in different units.

9.)  B.

According to Avogadro’s Law, every gram atomic weight of a substance contains the same number of atoms.  The quantity of Avogadro’s number (Na) has a value of 6.0288 x 1023 and represents atoms per atomic weight (A).  Thus, numbers of atoms per gram = Na / A.

10.) C.

The mass of an atom is not exactly equal to the sum of the masses of constituent particles.  When the nucleus is formed, a certain mass is converted into energy which acts as a “glue” to keep nucleons together.  This energy is called binding energy.

11.)  D.

The mass of a nucleon is almost 2,000 times more than that of an electron.

12.)  B.

A neutron is not a charged particle and cannot ionize directly.

13.)  D.

Neutrons and protons are about 2,000 times heavier than electrons.

14.)  E.

For example, an isotope of lithium with 4 neutrons and 3 protons would have an atomic mass number of 7.

15.)  D.

The conversion of 1 atomic mass unit.  1.66 x 10-29 Kg in energy (E = mc2, where m is mass in Kg, c is the speed of light 3 x 108 meter/second) gives E (MeV) = 931 MeV.

16.)  B.

The magnitude of coulomb forces is highest near the inner most shell.

17.)  A.

In the formula , A represents the mass number and Z represents the atomic

number for the element X.

_______________________________________________Structure of Matter--Answer

18.)  A.

Ionization requires stripping an electron from an atom.  The photon must transfer

the necessary binding energy to the atom to remove an electron from its shell.  Hence, the energy of the photon has to be greater than the binding energy of the electron to be removed.

19.)  A.

The number of negative and positive charges must be equal.

Radioactivity

1.)  C.

Radioactive isotopes are unstable because the nucleus in an excess energy state.  The nucleus achieves stability by redistributing energy between the nucleons.  In this process, any of the nucleons can escape the nucleus and lower its energy state.

2.)  D.

Volume of a substance can change with temperature and pressure.  The radioactivity quantifies the number of radioactive atoms; hence B and C are true.

3.)  D.

For the activity to decrease to less than 2 mCi from 100 mCi, set-up the equation 1/50 = (1/2)n .  Solving for n would give n = 5.8.  Or you may count how many times you have to sequentially reduce the initial activity into half of the original.

i.e., 100mCi to 50 mCi to 25 mCi to 12.5 mCi, 6.25 mCi, 3.125 mCi, and 1.55 mCi.

4.)  B.

The activity is inversely related to half-life.  The average life is 1.44 x T ½ .  The biological half-life is independent of the physical half-life.

5.)  D.

T ½ = natural log of 2 divided by lambda, 1, where 1 is the disintegration constant, natural log

of  2 = 0.693.

6.)  E.

In the calculation of dose, all of the four parameters A-D are needed to calculate the total dose.

7.)  C.

The term specific activity refers to the radioactivity per unit mass of substance.

i.e., Bq/kg or Ci/g.

8.)  C.

The higher the specific activity of a sample, the higher is its activity for a unit mass.

9.)  B.

Half-life = 0.693/decay constant, 	Average half-life = 1.44 x half-life

10.)  D.

The activity of a source sample after n half-lives is given by (1/2)n

X-Ray and Gamma Ray Interactions

1.)  B.

2.)  C.

When a photon is scattered by the Compton interaction, part of its energy is given to the electron and the scattered photon has reduced energy

3.)  C.

4.)  C.

Annihilation radiation is produced when a positron combines with an electron.  This process produces two photons of 0.511 MeV, each traveling in opposite directions.

5.)  A.

The half value layer (HVL) is the thickness of an absorber required to attenuate the intensity of he beam to half its original value.

6.)  E.

In photon and gamma ray interactions with the atoms of a material electrons from the atoms are ejected producing ionization.  Transfer of energy takes place, some of which is absorbed and some are scattered.

7.)  C.

The transfer of energy implies giving energy to the atom (or to any of its components).  All energy transferred by a photon is not always absorbed by tissue.  Energy transferred to tissue implies actually absorbed by it.

8.)  B.

The major mode of x and gamma ray interaction in the megavoltage radiation therapy energy range of 1-20 MeV is the Compton process.

9.)  B.

The photoelectric effect is a phenomenon in which a photon interacts with an electron and ejects it.  All the energy of the photon is transferred to the electron.

________________________________X-Ray and Gamma Ray Interaction--Answers

10.)  B.

See answer above.

11.)  B.

The total attenuation coefficient represents the sum of the cross section of all possible interactions and thus determines the interaction probability.

12.)  C.

Lead has the highest Z and the highest attenuation coefficient between 3 MeV and 30 MeV and therefore is the better attenuation of a high energy photon beam.

13.)  B.

The minimum energy threshold for pair production is 1.02 MeV.  It, however, begins to be significant above 10 MeV.

14.)  C.

Contrary to high Z materials like lead which have a K-edge, the mass attenuation coefficient in soft tissue is similar to that in water which decreases continuously with energy.

Charged Particle Interactions

1.)  C.

The charged particle interactions or collisions are mediated by Coulomb forces between the electric field of the traveling particle and the electric field of orbital electrons and the nuclei of an atom of the material.  The collisions between particles and electrons results in ionization and excitation.  The interaction between the electrons and atomic nuclei produces Bremsstrahlung (x-rays).

2.)  C.

See above

3.)  B.

The rate of kinetic energy loss per unit path of the particle, dE/dx, is called stopping power (S).

S/r is called the mass stopping power, where r is the density of material.  When the “restricted” stopping power (when implies energy locally absorbed) is used then it is called the linear energy transfer or LET.

4.)  B.

The rate of energy loss for a charged particle is proportional to the square of the particle charge and inversely proportional to the square of its velocity.

5.)  C.

Heavy particles lose energy sharply at the end of their range.  This peaking of dose near the end of the particle range is called the Bragg peak.

6.)  C.

Because of their relatively small mass electrons have a high velocity until their last few interactions.  Heavy particles move much slower for a considerable distance at the end of their path.  This slow motion permits many more interactions and more dense ionizations resulting in the Bragg peak.

7.)  C.

If the energy transferred to an orbital electron is not sufficient to eject it (i.e., it is not higher than its binding energy), it is temporarily displaced from its stable position.  The energy could also be transferred to an excited state of a molecule.  This effect is called excitation.

_____________________________________Charged Particle Interactions--Answers

8.)  E.

Electrons and beta particles penetrate about one cm per two MeV where as alpha particles penetrate a few microns/MeV.

9.)  C.

Occasionally, an electron stripped from an atom acquires sufficient energy to make its own track of ionization.  Such electrons are called secondary electrons or delta rays.

10.)  B.

An electron in the strong electromagnetic field of the nucleus decelerates rapidly.  Part of its kinetic energy is converted into an x-ray photon called bremsstrahlung.

Neutron Interactions

1.)  B.

Like x-rays and gamma rays, neutrons are indirectly ionizing.

2)  A.

Neutrons interact basically by two processes; 1) recoil protons from hydrogen and recoiling heavy

nuclei from other elements, and 2) nuclear disintegration.

3.)  C.

The most efficient absorber of neutrons is a hydrogenous material such as paraffin wax or

polyethylene.  Adding borax, which contains boron also improves absorption.

4.)  C.

Because of the higher hydrogen content, fat would receive about 20% higher dose.

5.)  D.

Nuclear disintegration produced by neutrons results in the emission of heavy charged particles, neutrons and gamma rays which gives rise to about 30% of the dose.  This makes neutron dosimetry difficult.

Production of X-Rays

1.)  D.

As the energy of electrons increases, the direction of x-ray bremsstrahlung becomes increasingly forward. This is why high energy linear accelerators use transmission targets and field flattening filters.

2.)  D.

Most of the energy in diagnostic x-ray machines is converted into heat.  Only about 1% results in x-ray production.

3.)  C.

X-ray photons produced by x-ray machines are heterogeneous in energy.  The energy of the incoming electrons is lost as they enter the target.  Photons of lower than average energy are produced as they penetrate further in the target.

4.)  C.

The maximum energy in kilo-electron-volts (keV) is numerically equal to the applied kilovolt peak (kVp).  However, the intensity of these photons is practically zero.

5.)  B.

The rule of thumb is that average x-ray energy in keV is approximately one-third of the maximum kVp.

6.)  D.

Increase in each of the parameters causes an increase in x-ray production.

7.)  D.

Ionization Chambers and Electrometers

1.) D.

In an ionization chamber open to the atmosphere, the density of air in the collecting volume changes with a change in temperature or pressure, hence the mass of air changes.  This effect must be taken into account to precisely quantify the ionization produced per unit mass of air and thus assess exposure.

2.)  D.

Free ionization chambers are not practical for use in a clinical environment.  Small and sturdy ionization chambers have good spatial resolution and do not perturb the radiation beams.

3.)  C.

The walls are made of air-equivalent low Z materials, thick enough to provide charge particle equilibrium in the air cavity.

4.)  B.

Parallel-plate chambers, with one of the plates made very thin, are extremely useful for measuring doses at shallow depths, such as the skin dose.

5.)  C.

A good ionization chamber should not have directional dependence.

Thermoluminescent Dosimetry

1.)  C.

Some substances when exposed to ionizing radiation store some of the energy as trapped charges in their crystal lattice.  When exposed to heat, they are released from their traps and return to their original energy level and release this energy as light.  The process is called thermoluminescence.

2.)  C.

The emitted light from thermoluminescence dosimetry is measured by a photomultiplier tube which converts it into an electrical signal.

3.)  C.

Lithium fluoride (LiF) has been the most studied and extensively used material for radiation dosimetry due to its excellent dosimetric properties.

4.)  C.

Careful handling and calibration process can provide up to ± 3% accuracy.

Film Dosimetry

1.)  B.

The exposed crystals of silver bromide when exposed to ionizing radiation or visible light record the latent image.

2.)  C.

The developing process reduces the silver bromide crystals to silver.

3.)  B.

The metallic silver, which is not affected by the fixer, causes darkening of the film.

4.)  C.

5.)  B.

The H-D curve is a plot of net optical intensity as a function of radiation exposure or dose.  It is also called the sensitometric curve.

6.)  B.

The response of a film to radiation is dependent on several factors such as changes in processing conditions, interfilm emulsion variations and other artifacts.  It is therefore only practical for relative dosimetry.

7.)  C.

8.)  C.

Radiochromic Film Dosimetry

1.)  B.

Radiochromic films are very well suited for the 10 Gy-104 Gy levels of radiation dose.

See reference at end of section.

2.)  C.

The radiochromic film emulsion changes color when exposed to radiation with-out any processing.

3.)  B.

Radiation response signal in a radiochromic film is typically measured using a spectrometer or densitometer.

4.)  B.

The coloring in a radiochromic film is dependent on room temperature.  Best result is obtained if exposure and measurements are performed at the same temperature.  Room temperature of

20-30º C is acceptable.

5.)  B.

In the range of 2-200 Gy, the radiochromic films have a reproducibility of ± 5% at a 95% confidence level.

6.)  B.

Energy dependence is about ± 5%

Suggested reading:

1.  Photon energy dependence of the sensitivity of radiochromic film and comparison with silver halide film and LiF TLDs used for brachytherapy dosimetry, Muench PJ, Meigooni A S, Nath R, Med Phys. 18(4), 769-775, 1994

Diode Radiation Detectors

1.)  C.

A diode is typically a device with two electrodes which allows current to only flow in one direction.  The diode dosimeter is a solid state device which generates a current when exposed to radiation.

2.)  B.

The relative signal produced by the diodes in a radiation beam can be calibrated to provide excellent relative dosimetry information.

3.)  D.

4.)  D.

Superficial and Orthovoltage Machines

1.)  C.

Superficial x-ray units operate between 50-150 kV and 1-6mm aluminum are added to harden the beam.

2.)  A.

The percent depth dose at 5 mm from a superficial x-ray beam is about 90%.

Beyond this depth, the dose falls off very rapidly and is not adequate for treatment because it will result in excessive skin dose.

3.)  B.

Superficial treatments are delivered with the help of applicators or cones providing SSD in the range of 15-20 cm.

4.)  C.

Most orthovoltage is operated between 200-300 kV and 10-20 mA.

5.)  C.

Using various filters, a half value layer of 1-4 mm Cu is achieved in orthovoltage beams.

6.)  B.

Beyond 2-3 cm, the dose falls off rapidly resulting in an excessive high skin dose if a therapeutic dose is to be delivered to a deep tumor.

7.)  A.

Cobalt Units

1.)  B.

The Cobalt-60 source produces two photons per disintegration of energies 1.17 and 1.33 MeV.  The average of these two is 1.25 MeV.

2.)  D.

The typical diameter of a cobalt source is 1-2 cm in diameter.  A smaller diameter source does not have enough output to produce a practical therapeutic dose rate at 80 cm SSD.

3.)  C.

When an x-ray source is collimated by collimators at half the distance of the SSD, the penumbra at the SSD is the same as the diameter of the source.

4.)  C.

About 12 mm of lead reduces the cobalt dose rate to half its initial value.

5.)  D.

6 cm represents 5 HVLs.  This will reduce the incident cobalt beam intensity by (1/2)5 = 1/32 which is about 3.1%

6.)  C.

Specially constructed heavy metal bars used to better define the beam near the patient are called trimmers.

Linear Accelerators

1.)  B.

In linear accelerators, high frequency electromagnetic waves are used to accelerate and provide energy to electrons.

2.)  D.

The typical frequency of 3000 MHz in S band is found to be optimum for accelerating electrons in a gantry-mounted accelerator structure.

3.)  D.

In standing wave accelerators, up to 150 keV/cm of energy transfer is possible.  Instead, a traveling wave accelerator can only transfer up to approximately 75 keV/cm.

4.)  B.

Pulsed microwave power is produced by Klystron and magnetrons.  High energy accelerators run better with Klyston.

5.)  C.

Typically, linacs of 6 MV or less operate using magnetron of 2 MW peak power output.

6.)  D.

High energy linacs in the 10-25 MeV energy range are designed to operate with Klystron of 5 MW peak power.

7.)  B.

The x-ray beam from a target in the accelerator is very non-uniform.  It has a bell shape profile.  The flattening filter is used to produce a uniformly flat beam.

8.)  B.

The flattening filter is usually made of lead, although tungsten, uranium, steel aluminum or a combination has also been suggested to produce superior beams.

9.)  C.

Cyclotron is used for accelerating high energy protons for proton beam therapy.

Acceptance Testing, Calibration, and Commissioning

1.)  B.

The process of acceptance testing requires measurements of machine parameters and comparing the measured values to those specified in the purchase order.

2.)  D.

The commissioning process requires measurement of all mechanical and radiation data necessary to treat patients using the machine in question.  It includes parameters such as beam profiles, percent depth dose, field size, and cone factors, etc.

3.)  E.

The term calibration usually means measuring a parameter and comparing it with a national standard.  It has come to mean measuring and adjusting all parameters that have significant impact on the dose delivered to the patient.

4.)  E.

Most federal and professional standards require an annual complete calibration

5.)  B.

Most federal and professional standards require at least a weekly check of output consistency.  Some institutions perform it daily.

Suggested reading

AAPM code of practice for radiotherapy accelerators:  Report of AAPM  Radiation Therapy Task Group No. 45, Nath R, Biggs PJ, Bova FJ, Ling CC, Purdy, JA, Van de Geijn J, Weinhous MS, Med Phys. 21(7),

1093-1121, July 1994